Diagnostic tests for foot-and-mouth disease (FMD) include the detection of antibodies against either the viral nonstructural proteins or the capsid. The detection of antibodies against the structural proteins (SP) of the capsid can be used to monitor seroconversion in both infected and vaccinated animals. However, SP tests need to be tailored to the individual FMD virus (FMDV) serotype and their sensitivity may be affected by antigenic variability within each serotype and mismatching between test reagents. As a consequence, FMD reference laboratories are required to maintain multiple type-specific SP assays and reagents. A universal SP test would simplify frontline diagnostics and facilitate large-scale serological surveillance and postvaccination monitoring. In this study, a highly conserved region in the N terminus of FMDV capsid protein VP2 (VP2N) was characterized using a panel of intertype-reactive monoclonal antibodies. This revealed a universal epitope in VP2N which could be used as a peptide antigen to detect FMDV-specific antibodies against all types of the virus. A VP2-peptide enzyme-linked immunosorbent assay (VP2-ELISA) was optimized using experimental and reference antisera from immunized, convalescent, and naïve animals (n = 172). The VP2-ELISA is universal and simple and provided sensitive (99%) and specific (93%) detection of antibodies to all FMDV strains used in this study. We anticipate that this SP test could have utility for serosurveillance during virus incursions in FMD-free countries and as an additional screening tool to assess FMD virus circulation in countries where the disease is endemic