Antigenic lateral flow immunoassays (LFIAs) rely on the non-competitive sandwich format, including a detection (labelled) antibody and a capture antibody immobilised onto the analytical membrane. When the same antibody is used for the capture and the detection (single epitope immunoassay), the saturation of analyte epitopes by the probe compromises the capture and lowers the sensitivity. Hence, several factors, including the amount of the probe, the antibody-to-label ratio, and the contact time between the probe and the analyte before reaching the capture antibody, must be adjusted. We explored different designs of experiments (full-factorial, optimal, sub-optimal models) to optimise a multiplex sandwich-type LFIA for the diagnosis and serotyping of two Southern African Territory (SAT) serotypes of the foot-and-mouth disease virus, and to evaluate the reduction of the number of experiments in the development. Both assays employed single epitope sandwich, so most influencing variables on the sensitivity were studied and individuated. We upgraded a previous device increasing the sensitivity by a factor of two and reached the visual limit of detection of 103.7 and 104.0 (TCID/mL) for SAT 1 and SAT 2, respectively. The positioning of the capture region along the LFIA strip was the most influent variable to increase the detectability. Furthermore, we confirmed that the 13-optimal DoE was the most convenient approach for designing the device